## Sheet1
2015 Enterprise Green Communities Criteria |  |  |  | Notes Regarding 2015 Criteria (if applicable) | 2020 Enterprise Green Communities Criteria |  |  |  | Notes Regarding 2020 Criterion (if applicable)
1 Integrative Design |  |  |  |  | 1 Integrative Design
| 1.1a | M | Goal Setting |  |  | 1.1 | M | Integrative Design - Project Priorities Survey | New to 2020 - not included in 2015
| 1.1b | M | Criteria Documentation |  |  | 1.2 | M | Integrative Design - Charrettes & Coordination Meetings | New to 2020 but stems from 2015 Criterion 1.1a
| 1.1c | 9 | Designing for Project Performance |  |  | 1.3 | M | Integrative Design - Documentation
| 1.2a | M | Resident Health and Well-Being: Deisgn for Health |  |  | 1.4 | M | Integrative Design - Construction Management | New to 2020 but stems from 2015 Criteria 1.1a and 1.1b
| 1.2b | 12 | Resident Health and Well-Being: Health Action Plan |  |  | 1.5 | 12 or 15 | Design for Health and Well-Being: Health Action Plan | Significantly updated from its 2015 counterpart (1.2b)
| 1.3a | M | Resilient Communities: Design for Resilience (New Construction and Susbtantial Rehab only) |  |  | 1.6 | 10 | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment | Significantly updated from its 2015 counterpart (1.3b)
| 1.3b | 15 | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment |  |  | 1.7 | 8 | Resilient Communities: Strengthening Cultural Resilience | New to 2020 - not included in 2015
2 Location + Neighborhood Fabric |  |  |  |  | 2 Location + Neighborhood Fabric
| 2.1 | M | Sensitive Site Protection (See exemptions in Criteria) |  |  | 2.1 | M | Sensitive Site Protection | Significantly updated from its 2015 counterpart (2.1), also now tied more closely to 2020 Criterion 3.1
| 2.2 | M | Connections to Existing Development and Infrastructure (Except for Rural/tribal/rural, in colonias communities, or communities with populations < 10,000) |  |  | 2.2 | M | Connections to Existing Development and Infrastructure (New construction, urban/suburban only) | Significantly updated from its 2015 counterpart (2.2)
| 2.3 | M | Compact Development |  |  | 2.3 | M | Compact Development (New Construction only)
| 2.4 | 5 or 7 | Compact Development |  |  | 2.4 | 5 or 7 | Compact Development
| 2.5 | M | Proximity to Services |  |  | 2.5 | M | Proximity to Services & Community resources (New Construction only)
| 2.6 | M | Preservation of and Access to Open Space for Rural/Tribal/Small Towns |  |  | 2.6 | M | Preservation of and Access to Open Space for Rural/Tribal/Small Towns (New Construction Rural/Tribal/Small Towns)
| 2.7 | 6 max | Preservation of and Access to Open Space |  |  | 2.7 | 6 max | Preservation of and Access to Open Space | Significantly updated from its 2015 counterpart (2.7)
| 2.8 | 8 or 10 | Access to Public Transportation (New Construction projects: see p. 38) |  |  | 2.8 | M & 2, 6, or 8 | Access to Transit (Mandatory for New Construction Urban/Suburban; optional for all others) | Significantly updated from its 2015 counterpart (2.8)
| 2.9 | 2-8 | Improving Connectivity to the Community |  |  | 2.9 | 2-8 | Improving Connectivity to the Community
| 2.1 | 5 max | Passive Solar Heating/Cooling |  |  | 2.1 | 5 max | Passive Solar Heating/Cooling
| 2.11 | 4 | Brownfield Site or Adaptive Reuse Building |  |  | 2.11 | 6 | Adaptive Reuse of Buildings
| 2.12 | 6 | Access to Fresh, Local Foods |  |  | 2.12 | 6 | Access to Fresh, Local Foods
| 2.13 | 4 | LEED for Neighborhood Development Certification |  |  | 2.13 | 8 | Advanced Certification: Site Planning, Design, and Management
| 2.14 | 6 max | Local Economic Development and Community Wealth Creation |  |  | 2.14 | 6 max | Local Economic Development and Community Wealth Creation
[6 empty] | 2.15a | M | Access to Broadband: Broadband Ready (Mandatory for New Construction and Substantial Rehab in Rural/Tribal/Small Town) | New to 2020 - not included in 2015
[6 empty] | 2.15b | 6 | Access to Broadband: Connectivity | New to 2020 - not included in 2015
3 Site Improvements |  |  |  |  | 3 Site Improvements
| 3.1 | M | Environmental Remediation |  |  | 3.1 | M | Environmental Remediation
| 3.2 | M | Erosion and Sedimentation Control (Except for infill sites with buildable area smaller than one acre) |  |  | 3.2 | M | Minimization of Disturbance during Staging and Construction | Iteration of 2015 3.2; Significantly updated from its 2015 counterpart
| 3.3 | M | Low-Impact Development (mandatory for projects located on greenfields) |  |  | 3.3 | M | Ecosystem Services / Landscaping (mandatory if providing landscaping)
| 3.4 | M | Landscaping |  |  | 3.4 | M | Surface Stormwater Management | Significantly updated from its 2015 counterpart (3.6)
| 3.5a | M | Efficient Irrigation and Water Reuse (if irrigation is utilized) |  |  | 3.5 | 10 max | Surface Stormwater Management | Iteration of 2015 3.6
| 3.5b | 4 or 8 | Efficient Irrigation and Water Reuse (if irrigation is utilized) |  |  | 3.6 | M | Efficient Irrigation and Water Reuse (if irrigation is utilized) | Significantly updated from its 2015 counterpart (3.5a)
| 3.6 | 4 or 8 | Surface Stormwater Management |  |  | 3.7 | 4 or 6 | Efficient Irrigation and Water Reuse (if irrigation is utilized)
| 3.7 | 1 | Reducing Heat-Island Effect: Paving
4 Water Conservation |  |  |  |  | 4 Water
| 4.1 | M | Water-Conserving Fixtures |  |  | 4.1 | M | Water Conserving Fixtures
| 4.2 | 6 max | Advanced Water Conservation |  |  | 4.2 | 6 max | Advanced Water Conservation
| 4.3 | 4 | Leaks and Water Metering |  |  | 4.3 | M & 3 or 8 | Water Quality | New to 2020 - not included in 2015
| 4.4 | 4 | Efficient Plumbing Layout and Design |  |  | 4.4 | 4 | Monitoring Water Consumption and Leaks | Significantly updated from its 2015 counterpart (4.3)
| 4.5 | 6 max | Water Reuse |  |  | 4.5 | 4 | Efficient Plumbing Layout and Design
| 4.6 | 8 | Access to Potable Water during Emergencies |  |  | 4.6 | 6 max | Non-Potable Water Reuse | Significantly updated from its 2015 counterpart (4.6)
[6 empty] | 4.7 | 8 | Access to Potable Water during Emergencies
5 Energy Efficiency |  |  |  |  | 5 Operating Energy
| 5.1a | M | Building Performance Standard |  |  | 5.1a | M | Building Performance Standard (New Construction) | Significantly updated from its 2015 counterpart; combination of 2015 5.1a and 5.1b
| 5.1b | M | Building Performance Standard |  |  | 5.1b | M | Building Performance Standard (Rehab) | Significantly updated from its 2015 counterpart; combination of 2015 5.1c and 5.1d
| 5.1c | M | Building Performance Standard |  |  | 5.2a | 12 max | Moving to Zero Energy: Additional Reductions in Energy Use | Significantly updated from its 2015 counterpart (5.2a)
| 5.1d | M | Building Performance Standard |  |  | 5.2b | 12-15 | Moving to Zero Energy: Near Zero Certification (Mandatory for Enterprise Green Communities Certification Plus)
| 5.2a | 5-12 | Additional Reductions in Energy Use |  |  | 5.3a | 3-6 | Moving to Zero Energy: Photovoltaic/Solar Hot Water Ready | Significantly updated from its 2015 counterpart (5.7a)
| 5.2b | 12 | Advanced Certification: Nearing Net Zero |  |  | 5.3b | 8 max | Moving to Zero Energy: Renewable Energy | Significantly updated from its 2015 counterpart (5.7b)
| 5.3 | M | Sizing of Heating and Cooling Equipment |  |  | 5.4 | 24 | Achieving Zero Energy (Mandatory for Enterprise Green Communities Certification Plus) | New to 2020 - not included in 2015
| 5.4 | M | ENERGY STAR Appliances (if providing appliances) |  |  | 5.5a | 5 max | Moving to Zero Carbon: All-Electric Ready | New to 2020 - not included in 2015
| 5.5 | M | Lighting |  |  | 5.5b | 15 | Moving to Zero Carbon: All Electric | Iteration of 2015 7.4
| 5.6 | M or 6 | Electricity Meter (Mandatory for new construction and Substantial rehab; optional for moderate rehab) | Retired from 2020 |  | 5.6 | M | Sizing of Heating and Cooling Equipment (Mandatory for New Construction and rehabs that include replacement of heating and cooling equipment)
| 5.7a | 4 | Photovoltaic/Solar Hot Water Ready |  |  | 5.7 | M | ENERGY STAR Appliances (if providing appliances)
| 5.7b | 10 max | Renewable Energy |  |  | 5.8 | M | Lighting | Significantly updated from its 2015 counterpart (5.5)
| 5.8a | 8 max | Resilient Energy Systems: Floodproofing |  |  | 5.9 | 8 | Resilient Energy Systems: Floodproofing
| 5.8b | 4, 6, or 8 | Resilient Energy Systems: Islandable Power |  |  | 5.1 | 8 | Resilient Energy Systems: Critical Loads | Significantly updated from its 2015 counterpart (5.8b)
6 Materials |  |  |  |  | 6 Materials
| 6.1 | M | Low/No VOC Paints, Coatings, and Primers |  |  | 6.1 | 8 max | Ingredient Transparency for Material Health | New to 2020 - not included in 2015
| 6.2 | M | Low/Noo VOC Adhesives and Sealants |  |  | 6.2 | 3 max | Recycled Content and Ingredient Transparency | Iteration of 2015 6.3
| 6.3 | 3 max | Recycled Content Material |  |  | 6.3 | 8 max | Chemical Hazard Optimization | New to 2020 - not included in 2015
| 6.4 | 4 max | Regional Materials |  |  | 6.4 | M & 15 max | Healthier Material Selection | Iteration of 2015 6.1, 6.2, 6.6, 6.7a, 6.7b, and 6.10; Significantly updated from its 2015 counterparts
| 6.5 | 1 | Certified, Salvaged, and Engineered Wood Products |  |  | 6.5 | 12 max | Environmentally Responsible Material Selection | Iteration of 2015 3.7, 6.5, 6.11; Significantly updated from its 2015 counterparts
| 6.6 | M | Composite Wood Products that Emit Low/No Formaldehyde |  |  | 6.6 | M | Bath, Kitchen, Laundry Surfaces | Significantly updated from its 2015 counterpart (6.8, 6.9)
| 6.7a | M | Environmentally Preferable Flooring |  |  | 6.7 | 4 max | Regional Materials
| 6.7b | 6 | Environmentally Preferable Flooring: Throughout Building |  |  | 6.8 | M | Managing Moisture: Foundations (All New Construction and Rehab with crawl space foundations) | Iteration of 2015 7.5
| 6.8 | M | Mold Prevention: Surfaces |  |  | 6.9 | M | Managing Moisture: Roofing and Wall Systems (All New Construction and Rehab replacing particular assemblies) | Iteration of 2015 7.6
| 6.9 | M | Mold Prevention: Tub and Shower Enclosures (except for projects that do not have shower or bathroom in scope of work) |  |  | 6.1 | M & 6 max | Construction Waste Management | Significantly updated from its 2015 counterpart (6.12)
| 6.1 | 12 max | Asthmagen-Free Materials |  |  | 6.11 | 2 | Recycling Storage
| 6.11 | 5 | Reduced Heat-Island Effect: Roofing
| 6.12 | 6 max | Construction Waste Management
| 6.13 | 3 | Recycling Storage
7 Healthy Living Environment |  |  |  |  | 7 Healthy Living Environment
| 7.1 | M & 12 max | Ventilation (Mandatory for New Construction and Substantial Rehab; Optional for Moderate Rehab) |  | I. REDUCING EXPOSURE TO TOXINS
| 7.2 | M | Clothes Dryer Exhaust | Retired from 2020 |  | 7.1 | M | Radon Mitigation | Significantly updated from its 2015 counterpart (7.8)
| 7.3 | M | Combustion Equipment |  |  | 7.2 | M | Reduce Lead Hazards in Pre-1978 Buildings (Substantial Rehab on buildings constructed before 1978)
| 7.4 | 9 or 11 | Elimination of Combustion within the Conditioned Space |  |  | 7.3 | M | Combustion Equipment | Significantly updated from its 2015 counterpart (7.3)
| 7.5 | M | Vapor Retarder Strategies (All New Construction and Rehab with foundation work in scope) |  |  | 7.4 | M | Garage Isolation
| 7.6 | M | Water Drainage (All New Construction and Rehab that incldues replacing particular assemblies) |  |  | 7.5 | M | Integrated Pest Management
| 7.7 | M | Mold Prevention: Water Heaters | Retired from 2020 |  | 7.6 | M & 10 | Smoke-Free Building | Significantly updated from its 2015 counterpart (7.16)
| 7.8 | M | Radon Mitigation (New Construction and Substantial Rehab) |  | II. MANAGING THE INDOOR ENVIRONMENT
| 7.9 | M | Garage Isolation |  |  | 7.7 | M & 12 max | Ventilation (Mandatory: New Construction and Substantial Rehab; Optional: Moderate Rehab) | Significantly updated from its 2015 counterpart (7.1)
| 7.1 | M | Integrated Pest Management |  |  | 7.8 | M or 5 | Dehumidification (Mandatory for Projects following Criterion 5.2a; Optional for Projects following Criterion 5.1a or b; n/a for projects following Criterion 5.2b and 5.4) | New to 2020 - not included in 2015
| 7.11a | 9 | Beyond ADA: Universal Design - New Construction |  |  | 7.9 | 3 | Construction Pollution Management | New to 2020 - not included in 2015
| 7.11b | 7 or 9 | Beyond ADA: Universal Design - Substantial and Moderate Rehab |  |  | 7.1 | 3 | Noise Reduction | New to 2020 - not included in 2015
| 7.12 | M | Active Design: Promoting Physical Activity within the Building |  | III. PROMOTING HEALTH THROUGH DESIGN
| 7.13 | 10 | Active Design: Staircases and Building Circulation (applicable for projects with stairs) |  |  | 7.11 | 8 | Active Design: Promoting Physical Activity | Significantly updated from its 2015 counterpart (7.12, 7.13)
| 7.14 | 9 | Interior and Outdoor Activity Spaces for Children and Adults |  |  | 7.12 | 8 | Beyond ADA: Universal Design | Significantly updated from its 2015 counterpart (7.11a, 7.11b)
| 7.15 | M | Reduce Lead Hazards in Pre-1978 Buildings |  |  | 7.13 | 8 | Healing-Centered Design | New to 2020 - not included in 2015
| 7.16 | 10 | Smoke-Free Building
8 Operations, Maintenance + Resident Engagement |  |  |  |  | 8 Operations, Maintenance, and Resident Engagement
| 8.1 | M | Building Operations & Maintenance (O&M) Manual and Plan (all multifamily projects) |  |  | 8.1 | M | Building Operations & Maintenance (O&M) Manual and Plan (all multifamily projects)
| 8.2 | M | Emergency Management Manual (all multifamily projects) |  |  | 8.2 | M | Emergency Management Manual (all multifamily projects)
| 8.3 | M | Resident Manual |  |  | 8.3 | M | Resident Manual
| 8.4 | M | Resident and Property Staff Orientation |  |  | 8.4 | M | Walk-Throughs and Orientations to Property Operation
| 8.5 | M | Project Data Collection and Monitoring System: 100% Owner-Paid Utility Accounts, 15% Tenant-Paid Utility Accounts |  |  | 8.5 | M | Energy and Water Data Collection and Monitoring | Significantly updated from its 2015 counterparts (8.5 and 8.6)
| 8.6 | 7 or 11 | Project Data Collection and Monitoring System: Greater than 15% Tenant-Paid Utility Accounts