## SpecMatrix
|  | 1. Integrative Design | [6 empty] | 2. Location + Neighborhood Fabric | [12 empty] | 3. Site Improvements | 3. Site Improvements | [7 empty] | 4. Water Conservation | [5 empty] | 5. Energy Efficiency | [13 empty] | 6. Materials | [13 empty] | 7. Healthy Living Environment | [16 empty] | 8. Operations, Maintenance + Resident Engagement
| 2015 ENTERPRISE GREEN COMMUNITIES MULTIFAMILY COMPANION MATRIX OF SPECIFICATIONS & CRITERIA See Instructions Sheet for Helpful Tips Unhide Rows & Columns to see full Criteria and Divisions | Goal Setting | Criteria Documentation | Designing for Project Performance | Resident Health and Wellbeing: Design for Health | Resident Health and Wellbeing: Health Action Plan | Resilient Communities: Design for Resilience (New Construction & Substantial Rehab only) | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment | Sensitive Site Selection (New Construction only) | Connections to Existing Development and Infrastructure (New Construction only, except for USDA funded projects) | Compact Development (New Construction only) | Compact Development | Proximity to Services (New Construction only) | Preservation of and Access to Open Space in Rural or Tribal Areas (only for projects eligible for USDA funding) | Preservation of and Access to Open Space | Access to Public Transportation | Improving Connectivity to the Community | Passive Solar Heating / Cooling | Brownfield Site or Adaptive Reuse Building | Access to Fresh, Local Foods | LEED for Neighborhood Development Certification | Local Economic Development & Community Wealth Creation | Environmental Remediation | Erosion and Sedimentation Control (Except for infill sites with buildable area smaller than one acre) | Low Impact Development (Only for projects located on greenfields) | Landscaping | Efficient Irrigation and Water Reuse (if irrigation is used) | Efficient Irrigation and Water Reuse | Surface Stormwater Management | Reducing Heat Island Effect: Paving | Water-Conserving Fixtures | Advanced Water Conservation | Leaks & Water Metering | Efficient Plumbing Layout & Design | Water Reuse | Access to Potable Water during Emergencies | Building Performance Standard: New Construction: single family and low-rise multifamily | Building Performance Standard: New Construction: mid-rise and high-rise multifamily | Building Performance Standard: Substantial and Moderate Rehab: single family and low-rise multifamily | Building Performance Standard: Substantial and Moderate Rehab: mid-rise and high-rise multifamily | Additional Reductions in Energy Use | Advanced Certification: Nearing Net Zero | Sizing of Heating and Cooling Equipment | ENERGY STAR Appliances | Lighting | Electricity Meter (Mandatory for New Construction and Substantial Rehab; Optional for Moderate Rehab) | Photovoltaic / Solar Hot Water Ready | Renewable Energy | Resilient Energy Systems: Floodproofing | Resilient Energy Systems: Islandable Power | Low / No VOC Paints, Coatings and Primers | Low / No VOC Adhesives and Sealants | Recycled Content Material | Regional Material | Certified, Salvaged and Engineered Wood Products | Composite Wood Products that Emit Low / No Formaldehyde | Environmentally Preferable Flooring | Environmentally Preferable Flooring Throughout | Mold Prevention: Surfaces | Mold Prevention: Tub & Shower Enclosures | Asthmagen-free Materials | Reduced Heat-Island Effect: Roofing | Construction Waste Management (Mandatory Minimums; Points for Exceeding Minimums) | Recycling Storage for Multifamily Project | Ventilation (Mandatory for New Construction and Substantial Rehab; Optional for Moderate Rehab) | Clothes Dryer Exhaust | Combustion Equipment | Elimination of Combustion within the Conditioned Space | Vapor Retarder Strategies (New Construction and Rehab projects with foundation work only) | Water Drainage (New Construction and Rehab projects replacing assemblies called out in Criterion only) | Mold Prevention: Water Heaters | Radon Mitigation (New Construction and Substantial Rehab only) | Garage Isolation | Integrated Pest Management | Beyond ADA: Universal Design (New Construction only) | Beyond ADA: Universal Design (Substantial and Moderate Rehab only) | Active Design: Promoting Physical Activity within the Building | Active Design: Staircases and Building Circulation | Interior and Outdoor Activity Spaces for Children and Adults | Reduce Lead Hazards (Substantial Rehab, pre-1978) | Smoke-Free Building | Building Maintenance Manual (all multifamily projects) | Emergency Management Manual (all multifamily projects) | Resident Manual | Resident and Property Manager Orientation | Project Data Collection and Monitoring System: 100% Owner Paid Utility Accounts, 15% Tenant Paid Utility Accounts | Project Data Collection and Monitoring System: >15% Tenant Paid Utility Accounts
|  | 1.1a | 1.1b | 1.1c | 1.2a | 1.2b | 1.3a | 1.3b | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 2.1 | 2.11 | 2.12 | 2.13 | 2.14 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5a | 3.5b | 3.6 | 3.7 | 4.1 | 4.2 | 4.3 | 4.4 | 4.5 | 4.6 | 5.1a | 5.1b | 5.1c | 5.1d | 5.2a | 5.2b | 5.3 | 5.4 | 5.5 | 5.6 | 5.7a | 5.7b | 5.8a | 5.8b | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7a | 6.7b | 6.8 | 6.9 | 6.1 | 6.11 | 6.12 | 6.13 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 7.1 | 7.11a | 7.11b | 7.12 | 7.13 | 7.14 | 7.15 | 7.16 | 8.1 | 8.2 | 8.3 | 8.4 | 8.5 | 8.6
| M = Mandatory EGC Criteria, Italics = Optional Points | M | M | 9 | M | 12 | M | 15 | M | M | M | 5 or 7 | M | M | 6 max | 8 or 10 | 2 - 8 | 5 max | 4 | 6 | 4 | 6 max | M | M | M | M | M | 4 or 8 | 4 or 8 | 1 | M | 6 max | 4 | 4 | 6 max | 8 | M | M | M | M | 5 - 12 | 12 | M | M | M | M or 6 | 4 | 10 max | 8 | 4 - 8 | M | M | 3 max | 4 max | 1 | M | M | 6 | M | M | 12 max | 5 | M or 6 max | 3 | M or 12 max | M | M | 9 or 11 | M | M | M | M | M | M | 9 | 7 or 9 | M | 10 | 9 | M | 10 | M | M | M | M | M | 7 or 11
Section # | Section Name | S = Submittal, P = Product, E = Execution | [6 empty] | S = Submittal, P = Product, E = Execution | [12 empty] | S = Submittal, P = Product, E = Execution | [8 empty] | S = Submittal, P = Product, E = Execution | [5 empty] | S = Submittal, P = Product, E = Execution | [13 empty] | S = Submittal, P = Product, E = Execution | [13 empty] | S = Submittal, P = Product, E = Execution | [16 empty] | S = Submittal, P = Product, E = Execution
Division 1 - General Requirements
01 10 00 | Summary
01 11 00 | Summary of Work
01 23 00 | Alternates
01 25 00 | Substitution Procedures
01 31 00 | Project Management And Coordination
01 31 13 | Project Coordination
01 31 19 | Project Meetings
01 32 00 | Construction Progress Documentation
01 32 16 | Construction Progress Schedule
01 32 33 | Photographic Documentation
01 33 00 | Submittal Procedures
01 35 13.16 | Special Project Procedures For Detention Facilities
01 35 16 | Alteration Project Procedures
01 40 00 | Quality Requirements
01 42 00 | References
01 45 00 | Quality Control
01 45 29.13 | Structural Testing, Inspection and Quality Assurance
01 42 00 | References and Definitions
01 56 00 | Temporary Barriers and Enclosures
01 56 39 | Temporary Tree And Plant Protection
01 57 00 | Temporary Controls
01 57 13 | Temporary Erosion and Sedimentation Control | [22 empty] | S,E
01 60 00 | Product Requirements
01 66 00 | Product Storage and Handling Requirements
01 70 00 | Execution and Closeout Requirements
01 73 00 | Execution
01 73 29 | Cutting and Patching
01 74 19 | Construction Waste Management And Disposal | [61 empty] | S
01 74 23 | Final Cleaning
01 77 00 | Closeout Procedures | [80 empty] | S | S
01 78 00 | Closeout Submittals
01 78 23 | Operation And Maintenance Data | [80 empty] | S | S
01 78 36 | Warranties
01 78 39 | Project Record Documents
01 79 00 | Demonstration And Training | [83 empty] | E
01 80 00 | Performance Requirement
01 81 13 | Sustainable Building Requirements | [21 empty] | S,E | S,E |  | S,P,E | S,P,E | S,P,E | S,E | S,P | S,P | S,P | S,E | S,P,E | S,P |  | S,P,E | S,P,E | S,E | S,E |  | S | S,E | S,P | S,P | S,P | S,E | S,P |  | S,P | S,P | S,P | S,P | S,P | S,P | S,P,E | S,P | S,P |  | S,P | S,P | S,P | S |  | S,P,E | E | S,P,E |  | S,P,E | E | E | S, E | P,E | S,P,E |  |  | S | S, P |  | S,E |  | S | S
01 81 19 | Construction Indoor Air Quality Management | [49 empty] | S,P | S,P | [12 empty] | E | E
01 91 00 | Commissioning | [35 empty] | S,E | S,E
01 91 13 | General Commissioning Requirements
Division 2 - Existing Conditions
02 20 22 | Hazardous Materials Abatement | [21 empty] | S,E
02 24 00 | Environmental Assessment | [21 empty] | S,E
02 26 00 | Hazardous Materials Assessment | [78 empty] | S,E
02 41 00 | Demolition
02 41 13 | Selective Site Demolition
02 41 16 | Structure Demolition
02 41 19 | Selective Structure Demolition | [61 empty] | S
02 65 00 | Underground Storage Tank Removal | [21 empty] | S,E
02 82 00 | Asbestos Abatement | [21 empty] | S,E
02 83 00 | Lead Remediation | [21 empty] | S,E | [56 empty] | S,E
02 83 13 | Lead Hazard Control Activities | [21 empty] | S,E | [56 empty] | E
02 84 16 | Handling of Lighting Ballasts/Lamps Containing PCBs/Mercury | [21 empty] | S,E
Division 3 - Concrete
03 01 00 | Maintenance of Concrete
03 01 30 | Maintenance of Cast-In-Place Concrete
03 30 00 | Concrete | [51 empty] | S,P | S,P | [14 empty] | S,P,E | [12 empty] | S
03 30 53 | Miscellaneous Cast-In-Place Concrete
03 33 00 | Architectural Concrete
03 35 00 | Concrete Finishing
03 35 19 | Colored Concrete Finishing
03 35 43 | Polished Concrete Finishing
03 37 13 | Shotcrete
03 38 16 | Unbonded Post-Tensioned Concrete
03 41 00 | Precast Structural Concrete
03 45 00 | Precast Architectural Concrete
03 47 13 | Tilt-Up Concrete
03 49 00 | Glass-Fiber Reinforced Concrete
03 51 13 | Cementious Wood Fiber Decks
03 52 16 | Lightweight Insulating Concrete
03 53 00 | Concrete Topping
03 54 00 | Cast Underlayment
03 54 13 | Gypsum Cement Underlayment
03 54 16 | Hydraulic Cement Underlayment
Division 4 - Masonry
04 01 10 | Masonry Cleaning
04 01 20.63 | Brick Masonry Repair
04 01 20.64 | Brick Masonry Repointing
04 01 40.61 | Stone Repair
04 01 40.62 | Stone Repointing
04 20 00 | Unit Masonry | [51 empty] | S,P | S,P
04 21 13 | Brick Masonry
04 21 13.13 | Brick Veneer Masonry
04 22 00 | Concrete Unit Masonry
04 26 13 | Masonry Veneer
04 42 00 | Exterior Stone Cladding
04 43 00 | Stone Masonry
04 43 13.13 | Anchored Stone Masonry Veneer
04 43 13.16 | Adhered Stone Masonry Veneer
04 70 00 | Manufactured Masonry | [51 empty] | S,P | S,P
04 72 00 | Cast Stone Masonry
Division 5 - Metals
05 10 00 | Structural Metal Framing | [51 empty] | S,P
05 12 00 | Structural Steel Framing
05 12 13 | Architecturally Exposed Structural Steel Framing
05 21 00 | Steel Joist Framing
05 31 00 | Steel Decking
05 40 00 | Cold-Formed Metal Framing
05 41 00 | Structural Metal Stud Framing
05 44 00 | Cold-Formed Metal Trusses
Division 6 - Wood, Plastics, & Composites
06 05 13 | Plastic Laminate
06 05 73.13 | Fire-Retardant Wood Treatment
06 05 73.36 | Preservative Treated Wood
06 10 00 | Rough Carpentry | [50 empty] | S,P |  | S,P | S,P | S,P,E |  |  |  |  | S,P
06 10 53 | Miscellaneous Rough Carpentry | [54 empty] | S,P,E
06 10 63 | Exterior Rough Carpentry | [54 empty] | S,P,E
06 13 23 | Heavy Timber Construction | [54 empty] | S,P,E
06 15 00 | Wood Decking | [54 empty] | S,P,E
06 15 16 | Wood Roof Decking | [54 empty] | S,P,E
06 15 33 | Wood Patio Decking | [54 empty] | S,P,E
06 16 00 | Sheathing | [50 empty] | S,P | S,P | S,P | S,P | S,P,E |  |  |  |  | S,P
06 16 43 | Gypsum Sheathing | [54 empty] | S,P,E
06 17 00 | Shop-Fabricated Structural Wood | [50 empty] | S,P | S,P | S,P | S,P | S,P,E |  |  |  |  | S,P
06 17 53 | Shop-Fabricated Wood Trusses | [54 empty] | S,P,E
06 18 00 | Glued-Laminated Construction | [54 empty] | S,P,E
06 20 00 | Finish Carpentry | [50 empty] | S,P |  |  |  | S,P,E |  |  |  |  | S,P
06 20 13 | Exterior Finish Carpentry | [54 empty] | S,P,E
06 20 23 | Interior Finish Carpentry | [54 empty] | S,P,E
06 20 23.13 | Finish Carpentry and Millwork | [54 empty] | S,P,E
06 40 00 | Architectural Woodwork | [50 empty] | S,P |  |  |  | S,P,E |  |  |  |  | S,P | [20 empty] | S
06 41 00 | Architectural Wood Casework
06 41 13 | Wood-Veneer-Faced Architectural Cabinets
06 41 16 | Plastic-Laminate-Faced Architectural Cabinets
06 41 19 | Custom Casework
06 42 00 | Wood Paneling
06 42 14 | Stile And Rail Wood Paneling
06 42 16 | Flush Wood Paneling
06 42 19 | Plastic-Laminate-Faced Wood Paneling
06 43 00 | Wood Stairs And Railings
06 44 00 | Ornamental Woodwork
06 46 00 | Wood Trim | [50 empty] | S,P
06 48 00 | Wood Frames
06 49 00 | Wood Screens
06 83 00 | Composite Paneling
06 84 00 | Paper Composite Paneling
Division 7 - Thermal & Moisture Protection
07 01 50.19 | Preparation for Re-Roofing
07 11 13 | Bituminous Dampproofing
07 13 00 | Sheet Waterproofing
07 13 26 | Self-Adhering Sheet Waterproofing
07 13 53 | Elastomeric Sheet Waterproofing
07 13 54 | Thermoplastic Sheet Waterproofing
07 14 13 | Hot Fluid-Applied Rubberized Asphalt Waterproofing
07 14 16 | Cold Fluid-Applied Waterproofing
07 16 13 | Polymer Modified Cement Waterproofing
07 16 16 | Crystalline Waterproofing
07 16 19 | Metal Oxide Waterproofing
07 17 00 | Bentonite Waterproofing
07 17 13 | Bentonite Panel Waterproofing
07 18 00 | Traffic Coatings
07 19 00 | Water Repellents and Anti-Graffiti Coatings
07 21 00 | Thermal Insulation | [35 empty] | S,P,E | S,P,E | S,P,E | S,P,E | S,P,E | S,P,E | [10 empty] | S,P | [7 empty] | S,P
07 21 13 | Board Insulation
07 21 13.13 | Foam Board Insulation
07 21 16 | Batt and Blanket Insulation | [59 empty] | S,P
07 21 19 | Foamed-In-Place Insulation
07 21 29 | Sprayed Insulation
07 24 00 | Exterior Insulation And Finish System (Eifs)
07 24 13 | Polymer-Based Exterior Insulation And Finish System (Eifs)
07 24 19 | Water- Drainage Exterior Insulation And Finish System (Eifs)
07 25 00 | Weather Barriers | [68 empty] | E
07 26 00 | Vapor Retarders | [67 empty] | S,P,E
07 26 16 | Below-Grade Vapor Retarders
07 27 00 | Air Barriers | [35 empty] | S,P,E | S,P,E | S,P,E | S,PE | S,P | S,P,E | [9 empty] | S,P | [17 empty] | E |  |  | E | S,P,E
07 27 13 | Modified Bituminous Sheet Air Barriers
07 27 15 | Nonbituminous Self-Adhering Sheet Air
07 27 26 | Barriers
07 31 13 | Fluid-Applied Membrane Air Barriers
07 31 16 | Metal Shingles
07 41 13.13 | Formed Metal Roof Panels
07 41 13.16 | Standing-Seam Metal Roof Panels Standard-Profile
07 41 13.19 | Batten-Seam Metal Roof Panels
07 41 13.23 | Insulated Metal Roof Panels
07 42 13 | Metal Wall Panels
07 42 13.13 | Formed Metal Wall Panels
07 42 13.16 | Metal Plate Wall Panels
07 42 13.19 | Insulated Metal Wall Panels
07 42 13.23 | Metal Composite Material Wall Panels
07 42 13.53 | Metal Soffit Panels
07 46 00 | Siding | [51 empty] | S,P | S,P | [15 empty] | E | [11 empty] | S
07 46 16 | Aluminum Siding
07 46 19 | Steel Siding
07 46 33 | Plastic Siding
07 46 46 | Fiber Cement Siding
07 50 00 | Roofing | [50 empty] | S,P | S,P | S,P | [7 empty] | S,P | [7 empty] | E | [11 empty] | S
07 52 13 | Atactic-Polypropylene (App) Modified Bituminous Membrane Roofing
07 52 16 | Styrene-Butadiene-Styrene Modified Bituminous Roofing (Sbs)
07 53 00 | Elastomeric Membrane Roofing
07 53 16 | Chlorosulfonate-Polyethylene (Cspe) Roofing
07 53 23 | Ethylene-Propylene-Diene-Monomer Roofing (Epdm)
07 54 00 | Thermoplastic Membrane Roofing
07 54 16 | Ethylene Interpolymer (Kee) Roofing
07 54 23 | Thermoplastic-Polyolefin Roofing (Tpo)
07 55 52 | Modified Bituminous Protected Membrane Roofing
07 55 56 | Fluid-Applied Protected Membrane Roofing
07 55 56.13 | Hot-Applied Rubberized Asphalt Protected Membrane Roofing
07 55 63 | Vegetated Roof | [52 empty] | S,P | [7 empty] | S,P | [19 empty] | S
07 57 00 | Coated Foamed Roofing
07 60 00 | Metal Flashing | [68 empty] | E
07 61 00 | Sheet Metal Roofing
07 62 00 | Sheet Metal Flashing & Trim
07 81 00 | Applied Fireproofing
07 81 23 | Intumescent Mastic Fireproofing
07 82 00 | Board Fireproofing
07 84 00 | Firestopping
07 84 13 | Penetration Firestopping
07 84 43 | Joint Firestopping
07 90 00 | Joint Protection
07 91 00 | Preformed Joint Seals
07 92 00 | Joint Sealants
07 92 19 | Acoustical Joint Sealants
Division 8 - Openings
08 01 52.61 | Wood Window Repairs
08 10 00 | Doors and Frames | [35 empty] | S,P | S,P | S,P | S,P | [11 empty] | S,P | [17 empty] | E |  |  | E
08 11 13 | Hollow Metal Doors & Frames
08 11 19 | Stainless-Steel Doors And Frames
08 11 66 | Metal Screen Gates And Enclosures
08 11 73 | Sliding Metal Fire Doors
08 12 13 | Hollow Metal Frames
08 12 16 | Aluminum Frames
08 13 73 | Sliding Metal Doors
08 14 00 | Wood Doors
08 14 16 | Flush Wood Doors
08 14 33 | Stile & Rail Wood Doors
08 14 36 | Hinged Wood-Framed Glass Doors
08 31 00 | Access Doors And Panels
08 31 13 | Access Doors And Frames
08 31 13.53 | Security Access Doors And Frames
08 32 13 | Sliding Aluminum-Framed Glass Doors
08 32 19 | Sliding Wood-Framed Glass Doors
08 33 13 | Coiling Counter Doors
08 33 23 | Overhead Coiling Doors
08 33 26 | Overhead Coiling Grilles
08 32 13 | Sliding Aluminum-Framed Glass Doors
08 34 83 | Floor Doors
08 41 13 | Aluminum-Framed Entrances And Storefronts
08 41 13.13 | Fire-Rated Aluminum-Framed Entrances And Storefronts
08 41 26 | All-Glass Entrances & Storefronts
08 42 13 | Aluminum-Framed Entrances
08 42 26 | All-Glass Entrances
08 43 13 | Aluminum-Framed Storefronts
08 44 13 | Glazed Aluminum Curtain Walls
08 44 23 | Structural-Sealant-Glazed Curtain Walls
08 44 26 | Structural Glass Curtain Walls
08 44 33 | Sloped Glazing Assemblies
08 45 13 | Structured-Polycarbonate-Panel Assemblies
08 4 523 | Fiberglass-Sandwich-Panel Assemblies
08 50 00 | Windows | [16 empty] | S,P | [18 empty] | S,P | S,P | S,P | S,P | S,P | S,P | [9 empty] | S,P | [17 empty] | E | [11 empty] | S
08 51 13 | Aluminum Windows
08 51 23.13 | Hot-Rolled Steel Windows
08 51 23.23 | Cold-Rolled Steel Windows
08 51 23.33 | Cold-Rolled Stainless Steel Windows
08 52 00 | Wood Windows
08 53 13 | Vinyl Windows
08 54 13 | Fiberglass Windows
08 56 53 | Security Windows
08 56 63 | Detention Windows
08 56 73 | Sound Control Windows
08 61 00 | Roof Windows
08 61 13 | Overhead Sloped Glazing
08 62 00 | Unit Skylights
08 63 00 | Metal-Framed Skylights
08 71 00 | Door Hardware
08 71 11 | Door Hardware (Descriptive Specification)
08 71 13 | Automatic Door Operators
08 80 00 | Glazing
08 90 00 | Louvers And Vents | [72 empty] | S,P,E
08 91 16 | Operable Wall Louvers
08 91 19 | Fixed Louvers
08 95 16 | Wall Vents
Division 9 - Finishes
09 01 90.52 | Maintenance Repainting
09 20 00 | Plaster and Gypsum Board
09 21 00 | Gypsum Board Wall Assemblies
09 21 16 | Gypsum Board Assemblies
09 21 16.23 | Gypsum Board Shaft Wall Systems
09 21 16.43 | Acoustical Wall Construction
09 22 16 | Non-Structural Metal Framing | [51 empty] | S,P
09 28 00 | Backing Boards and Underlayments
09 28 13 | Cementitious Backing Boards
09 29 00 | Gypsum Board | [50 empty] | S,P | S,P | S,P | [5 empty] | S,P
09 30 00 | Tiling | [50 empty] | S,P | S,P | S,P | [5 empty] | S,P | [21 empty] | S
09 30 13 | Ceramic Tiling
09 30 23 | Glass Tiling
09 30 33 | Stone Tiling
09 35 00 | Chemical-Resistant Tiling
09 51 00 | Acoustical Ceilings
09 51 13 | Acoustical Panel Ceilings
09 51 23 | Acoustical Tile Ceilings
09 51 33 | Acoustical Metal Pan Ceilings
09 53 23 | Metal Acoustical Ceiling Suspension Assemblies
09 54 00 | Specialty Ceilings
09 54 23 | Linear Metal Ceilings
09 54 26 | Suspended Wood Ceilings
09 54 36 | Suspended Decorative Grids
09 54 43 | Stretched-Fabric Ceiling Systems
09 54 46 | Fabric-Wrapped Ceiling Panels
09 57 53 | Security Ceiling Assemblies
09 60 00 | Flooring | [50 empty] | S,P | S,P | S,P |  |  | S,P | S,P |  |  | S,P | [20 empty] | S
09 62 29 | Cork Flooring
09 63 13 | Brick Flooring
09 63 13.35 | Chemical-Resistant Brick Flooring
09 63 40 | Stone Flooring
09 64 00 | Wood Flooring
09 64 16 | Wood Block Flooring
09 64 66 | Wood Athletic Flooring
09 65 00 | Resilient Flooring
09 65 13 | Resilient Base And Accessories
09 65 16 | Resilient Sheet Flooring
09 65 19 | Resilient Tile Flooring
09 65 36 | Static-Control Resilient Tile Flooring
09 65 43 | Linoleum Flooring
09 65 66 | Resilient Athletic Flooring
09 66 13 | Portland Cement Terrazzo Flooring
09 66 23 | Resinous Matrix Terrazzo Flooring
09 67 23 | Resinous Flooring
09 67 66 | Fluid-Applied Athletic Flooring
09 68 00 | Carpeting | [50 empty] | S,P | S,P | S,P |  |  | S,P |  |  |  | S,P |  | S,E | [18 empty] | S
09 68 13 | Tile Carpeting
09 68 16 | Sheet Carpeting
09 69 00 | Access Flooring
09 72 00 | Wall Coverings | [50 empty] | S,P | [8 empty] | S,P | [20 empty] | S
09 84 13 | Fixed Sound-Absorptive Panels
09 90 00 | Painting and Coating | [49 empty] | S,P | [30 empty] | S
09 91 00 | Painting
09 91 13 | Exterior Painting
09 91 23 | Interior Painting | [49 empty] | S,P | [30 empty] | S
09 93 00 | Staining And Transparent Finishing
09 94 19 | Multicolor Interior Finishing
09 94 23 | Gilding
09 96 00 | High-Performance Coatings
09 96 23 | Graffiti-Resistant Coatings
09 96 33 | High-Temperature-Resistant Coatings
09 96 46 | Intumescent Painting
09 96 53 | Elastomeric Coatings
09 97 00 | Special Coatings
09 97 13 | Special Coatings For Ferrous Metals
09 97 26 | Cementitious Coatings
Division 10 - Specialties
10 11 00 | Visual Display Units
10 14 00 | Signage | [50 empty] | S,P
10 14 16 | Plaques
10 31 00 | Manufactured Fireplaces
10 44 00 | Fire Protection Specialties
10 44 13 | Fire Protection Cabinets
10 44 16 | Fire Extinguishers
Division 11 - Equipment
11 26 00 | Unit Kitchens | [30 empty] | S,P |  |  |  |  | S,P | S,P | S,P | S,P |  |  |  | S,P | [7 empty] | S,P |  |  |  | S,P,E |  |  |  |  | S,P | [20 empty] | S
11 31 00 | Residential Appliances | [30 empty] | S,P |  |  |  |  | S,P | S,P | S,P | S,P |  |  |  | S,P | [21 empty] | E | [15 empty] | S
11 82 26 | Facility Waste Compactors
Division 12 - Furnishings
12 30 00 | Casework
12 32 13 | Manufactured Wood-Veneer-Faced Casework
12 32 16 | Manufactured Plastic-Laminate-Faced Casework
12 35 20 | Modular Laboratory Wood Casework
12 35 30 | Residential Casework | [50 empty] | S,P |  |  |  | S,P,E |  |  |  |  | S,P
12 36 19 | Wood Countertops
12 36 23.13 | Plastic-Laminate-Clad Countertops
12 36 40 | Stone Countertops
12 36 61.13 | Cultured Marble Countertops
12 36 61.16 | Solid Surfacing Countertops
12 36 61.19 | Quartz Agglomerate Countertops
12 48 13 | Entrance Floor Mats & Frames | [50 empty] | S,P | [8 empty] | S,P | [20 empty] | S
12 48 16 | Entrance Floor Grills
Division 14 - Conveying Equipment
14 20 00 | Elevators | [50 empty] | S,P | [29 empty] | S
14 21 00 | Electric Traction Elevators
14 21 13 | Electric Traction Freight Elevators
14 21 23 | Electric Traction Passenger Elevators
14 21 23.13 | Machine Room Electric Traction Passenger Elevators
14 21 23.16 | Machine Room-Less Electric Traction Passenger Elevators
14 24 00 | Hydraulic Elevators
14 24 13 | Hydraulic Freight Elevators
14 91 82 | Trash Chutes
Division 22 - Plumbing
22 00 00 | Plumbing
22 05 14 | Variable Frequency Drives for Plumbing Equipment
22 05 19 | Meters & Gages for Plumbing Piping | [31 empty] | S,P
22 05 53 | Identification for Plumbing Piping & Equipment
22 05 90 | Pressure Testing For Plumbing Systems
22 05 93 | Testing, Adjusting and Balancing for Plumbing | [31 empty] | S,E
22 07 00 | Insulation for Plumbing | [32 empty] | S,P,E
22 07 16 | Plumbing Equipment Insulation | [32 empty] | S,P,E
22 07 19 | Plumbing Piping Insulation | [32 empty] | S,P,E
22 08 00 | Commissioning of Plumbing | [31 empty] | S,E | S,E | [47 empty] | E
22 10 00 | Plumbing / Piping | [31 empty] | S,P | S,P | [17 empty] | S,P
22 11 16 | Domestic Water Distribution Piping | [32 empty] | S,P
22 11 23 | Domestic Water Pumps
22 14 00 | Storm Drainage | [27 empty] | S,E
22 14 13 | Facility Storm Drainage Piping
22 30 00 | Plumbing Equipment
22 33 00 | Domestic Water Heaters | [35 empty] | S,P | S,P | S,P | S,P | [6 empty] | S | [23 empty] | E | [10 empty] | S
22 34 00 | Fuel-Fired Domestic Water Heaters
22 34 36 | Commercial Gas Domestic Water Heaters
22 34 36.23 | Commercial, High-Efficiency, Gas Domestic Water Heaters
22 35 00 | Domestic Water Heat Exchangers
22 40 00 | Plumbing Fixtures | [29 empty] | S,P | S,P | [19 empty] | S,P | [29 empty] | S
22 42 13.13 | Commercial Water Closets | [29 empty] | S,P | S,P
22 42 13.16 | Commercial Urinals | [29 empty] | S,P | S,P
22 42 16.13 | Commercial Lavatories | [29 empty] | S,P | S,P
22 42 16.16 | Commercial Sinks
22 42 23 | Commercial Showers | [29 empty] | S,P | S,P
22 47 13 | Drinking Fountains
Division 23 - HVAC
23 00 00 | Heating, Ventilating, and Air Conditioning (HVAC) | [35 empty] | S,P | S,P | S,P | S,P | S,P | S,P | S,P,E | [8 empty] | S,P | [20 empty] | E | [8 empty] | E
23 05 00 | Common Work Results for HVAC
23 05 13 | Common Motor Requirements for HVAC Equipment
23 05 14 | Variable Frequency Drives for HVAC Equipment
23 05 53 | Identification for HVAC Piping & Equipment
23 05 90 | Pressure Testing For HVAC Systems
23 05 93 | Testing, Adjusting, & Balancing for HVAC
23 07 00 | Insulation for HVAC
23 07 13 | Duct Insulation
23 07 16 | HVAC Equipment Insulation
23 07 19 | HVAC Piping Insulation
23 08 00 | Commissioning of HVAC
23 09 00 | Energy Management and Controls (DDC)
23 09 00 | Instrumentation and Controls for HVAC
23 09 13 | Instrumentation & Control Devices for HVAC
23 09 23 | Direct-Digital Control System for HVAC
23 09 93 | Sequence of Operations for HVAC Controls
23 21 00 | Hydronic Piping and Pumps
23 21 13 | Hydronic Piping
23 21 13.13 | Underground Hydronic Distribution
23 21 13.33 | Ground-Loop Heat-Pump Piping
23 21 16 | Hydronic Piping Specialties
23 21 23 | Hydronic Pumps
23 22 13 | Steam & Condensate Heating Piping
23 22 14 | Steam & Condensate Heating Specialties
23 23 00 | Refrigerant Piping
23 25 00 | HVAC Water Treatment
23 30 00 | HVAC Air Distribution | [35 empty] | E | E |  |  |  |  | S,P,E | [8 empty] | S,P | [12 empty] | S,P,E | [7 empty] | E
23 31 00 | HVAC Ducts & Casings
23 31 01 | HVAC Ducts & Casings-Low Pressure
23 31 02 | HVAC Ducts & Casings-Medium Pressure
23 31 13 | Metal Ducts
23 33 00 | Air Duct Accessories
23 33 19 | Duct Silencers
23 34 00 | HVAC Fans | [43 empty] | S,P | [19 empty] | S,P,E | [16 empty] | S
23 34 10 | Combination Exhaust-Supply Fan Package
23 52 00 | Boilers | [35 empty] | S,P | S,P | S,P | S,P | [26 empty] | E | [14 empty] | S
23 52 13 | Electric Boilers
23 52 16 | Condensing Boilers
23 52 23 | Cast-Iron Boilers
23 52 33.13 | Finned Water-Tube Boilers
23 52 33.16 | Steel Water-Tube Boilers
23 54 00 | Furnaces | [35 empty] | S,P | S,P | S,P | S,P | [26 empty] | E | [14 empty] | S
23 55 00 | Fuel-Fired Heaters
23 55 33 | Fuel-Fired Unit Heaters
23 56 00 | Solar Heating Equipment | [45 empty] | S | [34 empty] | S
23 56 13.13 | Heating Solar Flat-Plate Collectors
23 57 00 | Heat Exchangers for HVAC
23 61 00 | Refrigerant Compressors
23 62 13 | Packaged Air-Cooled Refrigerant Compressor & Condenser Units
23 63 13 | Air Cooled Refrigerant Condensers
23 64 00 | Packaged Air to Water Heat Pump
23 64 13 | Absorption Water Chillers
23 64 16 | Centrifugal Water Chillers
23 64 23 | Scroll Water Chillers
23 64 26 | Rotary-Screw Water Chillers
23 64 29 | Modular Water Chillers
23 65 13 | Forced-Draft Cooling Towers
23 65 16 | Natural-Draft Cooling Towers
23 65 22 | Ejector Cooling Towers
23 65 33 | Liquid Coolers
23 70 00 | Central HVAC Equipment
23 72 00 | Air-to-Air Energy Recovery Equipment
23 72 23 | Packaged Air-to-Air Energy Recovery Units
23 73 00 | Indoor Central-Station Air-Handling Units
23 73 13 | Modular Central-Station Air-Handling Units
23 74 00 | Packaged Outdoor HVAC Equipment
23 74 13 | Packaged Outdoor Central-Station Air-Handling Units
23 74 33 | Packaged Outdoor Heating & Cooling Make-Up Air Units
23 81 00 | Decentralized Unitary HVAC
23 81 01 | Terminal Heat Transfer Units
23 81 13 | Packaged Terminal Air-Conditioners
23 81 19 | Self-Contained Air-Conditioners
23 81 24 | Computer Room Air Conditioners - Floor Mounted
23 81 25 | Computer Room Air Conditioners - Ceiling Mounted
23 81 26 | Split-System Air Conditioners
23 81 27 | Small Split-System Heating & Cooling
23 81 29 | Variable Refrigerant Volume (VRV) HVAC System
23 81 30 | Basis of Design VRV Equipment
23 81 43 | Air-Source Unitary Heat Pumps
23 81 49 | Water-to-Water Heat Pumps
23 82 00 | Convection Heating & Cooling Units
23 82 16 | Air Coils
23 82 36 | Finned-Tube Radiation Heaters
23 82 39 | Unit Heaters
23 82 39.19 | Wall and Ceiling Unit Heaters
23 83 00 | Radiant Heating Units
23 83 13 | Radiant-Heating Cables
23 83 16 | Radiant-Heating Hydronic Piping
23 84 13 | Humidifiers
23 84 14 | Evaporative Pan Humidifiers
23 84 15 | Steam Humidifiers
23 84 17 | Sprayed Coil Dehumidifiers
23 90 00 | Mechanical Demolition
Division 26 - Electrical
26 00 00 | Electrical
26 05 00 | Basic Electrical Materials & Methods | [45 empty] | S,E |  |  | S,P | [32 empty] | S
26 05 53 | Identification for Electrical Systems
26 08 00 | Commissioning of Electrical Systems
26 09 16 | Electric Controls & Relays
26 09 17 | Programmable Controllers
26 09 18 | Remote Control Switching Devices
26 09 23 | Lighting Control Devices
26 09 26 | Lighting Control Panelboards
26 27 13 | Electricity Metering | [44 empty] | S
26 27 16 | Electrical Cabinets and Enclosures
26 31 00 | Photovoltaic Collectors | [45 empty] | S | S,P |  | S,P | [31 empty] | S | S
26 32 13 | Engine Generators
26 32 23 | Wind Energy Systems | [45 empty] | S |  |  | S,P | [31 empty] | S | S
26 32 29 | Rotary Converters
26 50 00 | Lighting
26 50 13 | Luminaire Schedule
26 51 00 | Interior Lighting | [43 empty] | S,P | [36 empty] | S
26 53 00 | Exit Signs | [43 empty] | S,P
26 56 00 | Exterior Lighting | [43 empty] | S,P | [36 empty] | S
Division 28 - Electronic Safety & Security
28 13 00 | Access Control
28 16 00 | Intrusion Detection
28 23 00 | Video Surveillance
28 31 00 | Fire Detection & Alarm
28 31 11 | Digital, Addressable Fire-Alarm Systems
28 31 49 | Carbon Monoxide Detection Sensors | [65 empty] | S,P | [5 empty] | S,P | [8 empty] | S
Division 31 - Earthwork
31 10 00 | Site Clearing | [22 empty] | E | [47 empty] | E
31 09 16.21 | Pile Load Tests
31 10 00 | Site Clearing
31 11 00 | Clearing and Grubbing
31 13 00 | Selective Tree and Shrub Removal and Trimming
31 20 00 | Earth Moving
31 21 13 | Radon Mitigation | [70 empty] | E | [9 empty] | S
31 22 00 | Grading
31 23 00 | Excavation and Fill
31 23 16 | Excavation
31 23 16.13 | Trenching
31 23 16.26 | Rock Removal
31 23 23 | Fill
31 23 35 | Excavating, Backfilling, Compacting for Utilities and Structures
31 25 00 | Erosion and Sedimentation Control
31 31 16 | Termite Control
31 37 00 | Riprap
31 62 13.19 | Precast Concrete Piles
Division 32 - Exterior Improvements
32 01 90 | Operation & Maintenance of Planting
32 01 90.33 | Tree Preservation
32 11 16 | Subbase Courses
32 11 23 | Aggregate Base Courses
32 11 25 | Turf Surfaced Roadways
32 12 16 | Asphalt Paving | [28 empty] | S,P
32 13 00 | Rigid Paving | [28 empty] | S,P | [22 empty] | S,P | [28 empty] | S
32 13 13 | Concrete Paving | [28 empty] | S,P
32 14 13 | Precast Concrete Unit Paving | [28 empty] | S,P
32 14 16 | Brick Unit Paving | [28 empty] | S,P
32 14 23 | Asphalt Unit Paving | [28 empty] | S,P
32 14 40 | Stone Paving | [28 empty] | S,P
32 16 11 | Cement Concrete Sidewalk, Curbs and Gutters | [28 empty] | S,P
32 17 13 | Parking Bumpers
32 17 23 | Pavement Markings
32 17 23.13 | Painted Pavement Markings
32 17 26 | Tactile Warning Surfacing
32 17 29 | Crosswalk Warning Lights & Signs
32 17 31 | Steel Guardrail
32 18 16.13 | Playground Protective Surfacing
32 18 23.33 | Synthetic Running Track Surfacing
32 30 00 | Site Improvements
32 31 00 | Fences & Gates
32 31 13 | Chain Link Fences & Gates
32 31 19 | Decorative Metal Fences & Gates
32 31 36 | Security Gates & Barriers
32 32 23 | Segmental Retaining Walls
32 80 00 | Irrigation | [25 empty] | S,P,E | S,P,E | [6 empty] | S,P | [46 empty] | E
32 84 00 | Planting Irrigation | [25 empty] | S,P,E | S,P,E
32 84 23 | Underground Sprinklers | [25 empty] | S,P,E | S,P,E
32 91 13 | Soil Preparation | [22 empty] | E
32 90 00 | Planting | [24 empty] | S,P | [55 empty] | S
32 92 00 | Turf and Grasses | [24 empty] | S,P | [55 empty] | S
32 92 19 | Seeding
32 92 23 | Sodding
32 93 00 | Plants | [24 empty] | S,P | [55 empty] | S
32 94 47 | Factory Fabricated Trellis Panels
Division 33 - Utilities
33 10 00 | Water Utilities
33 11 00 | Water Utility Distribution Piping
33 11 16 | Site Water Utility Distribution Piping
33 13 00 | Disinfecting of Water Utility Distribution | [33 empty] | S,P | S,P | [45 empty] | S
33 16 13 | Aboveground Water Utility Storage Tanks | [33 empty] | S,P | S,P | [45 empty] | S
33 21 00 | Water Supply Wells | [34 empty] | S,P | [45 empty] | S
33 30 00 | Sanitary Sewerage Utilities
33 31 11 | Site Sanitary Utility Sewerage Piping
33 36 00 | Utility Septic Tanks
33 40 00 | Storm Drainage Utilities
33 41 00 | Storm Utility Drainage Piping
33 41 11 | Site Storm Utility Drainage Piping
33 42 13 | Pipe Culverts
33 46 00 | Subdrainage
33 49 00 | Storm Drainage Structures | [27 empty] | S,E | [52 empty] | S
33 51 11 | Site Natural-Gas Distribution
33 71 16.33 | Wood Electrical Utility Poles
33 71 19 | Electrical Underground Ducts & Manholes
33 71 49.13 | Overhead Medium-Voltage Wiring
33 79 00 | Site Grounding

## Instructions
INSTRUCTIONS
2015 ENTERPRISE GREEN COMMUNITIES MULTIFAMILY COMPANION MATRIX OF SPECIFICATIONS & CRITERIA
To help project teams meet the requirements of mandatory and optional 2015 Enterprise Green Communities Criteria, Enterprise has developed a customizable specifications template based on MasterSpec formatting. This Companion Spec / Criteria Matrix identifies how each Green Communities Criteria maps to each MasterSpec Division. This matrix can serve as a planning tool for customizing the template specifications or as a standalone resource for project teams. Edit to best suit your needs.
1. Unhide rows and columns to see additional EGC Criteria or MasterSpec Divisions. Currently, any EGC Criteria that do not map to a MasterSpec item are hidden; similarly any MasterSpec items that don't address EGC Criteria are hidden. You may wish to unhide rows to add additional specs or best practices suited to your project.
2. Delete or hide any EGC Criteria columns that do not apply to your project. EGC Criteria are identified as Mandatory (M), or Optional for Points (Italics).
3. The Matrix indicates whether a Submittal (P), Product (P), or Execution (E) responsibly is associated with each Criteria. Project teams may wish to request additional submittals or modify the responsibilities of the construction team to suit the specific project objectives.